## Absorbance 1_01
Measurement results
p24 cristina chisu 030425 kit.skax
3/4/2025 12:03:30 PM
Absorbance 1
Wavelength: 450 nm
Plate 1
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.2749 | 1.2512 | 1.0867 | 1.0104 | 0.969 | 1.5506 | 1.5833 | 1.5695 | -0.0006
B | 0.7759 | 0.7807 | 0.4232 | 0.4098 | 0.3617 | 3.2618 | 3.1495 | 3.1105 | 0.0002
C | 0.4586 | 0.456 | 0.3017 | 0.2926 | 0.2509 | 2.1472 | 2.0833 | 2.1424 | -0.0008
D | 0.2634 | 0.2581 | 0.3158 | 0.3169 | 0.2836 | 0.7913 | 0.8487 | 0.8651 | 0.0002
E | 0.1626 | 0.1549 | 1.6193 | 1.5096 | 1.4602 | 0.9051 | 0.9831 | 0.9217 | -0.0007
F | 0.1057 | 0.1047 | 2.2882 | 2.323 | 2.1451 | 0.6228 | 0.6634 | 0.619 | 0.0001
G | 0.0508 | 0.0495 | 0.4838 | 0.4943 | 0.4506 | 1.251 | 1.222 | 1.284 | -0.0007
H | 0.0471 | 0.0462 | 0.4273 | 0.3991 | 0.4027 | 0.0509 | 0.0511 | 0.0514 | 0.0002
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std0001 | Std0001 | Un0001 | Un0001 | Un0001 | Un0009 | Un0009 | Un0009
B | Std0002 | Std0002 | Un0002 | Un0002 | Un0002 | Un0010 | Un0010 | Un0010
C | Std0003 | Std0003 | Un0003 | Un0003 | Un0003 | Un0011 | Un0011 | Un0011
D | Std0004 | Std0004 | Un0004 | Un0004 | Un0004 | Un0012 | Un0012 | Un0012
E | Std0005 | Std0005 | Un0008 | Un0008 | Un0008 | Un0013 | Un0013 | Un0013
F | Std0006 | Std0006 | Un0005 | Un0005 | Un0005 | Un0014 | Un0014 | Un0014
G | Std0007 | Std0007 | Un0006 | Un0006 | Un0006 | Un0015 | Un0015 | Un0015
H | Blank1 | Blank1 | Un0007 | Un0007 | Un0007
Autoloading range A1 - M28

## Standard Curve 1_02
Measurement results
p24 cristina chisu 030425 kit.skax
3/4/2025 12:03:30 PM
Standard Curve 1
Fit type: Linear Regression
Use extrapolation: Yes
Force line through origin: No
Concentration transformation: Linear
Signal transformation: Linear
Wavelength: 450 nm
Saved curve: No
Sample group: Group 1
y = 0.0030409x + 0.0969699
y = ax + b
Where:
a = | 0.0030409
b = | 0.09697
R²: 0.987
Well | Sample | Conc. | Original signal | CV% | Fitted signal | Residual
Average | Std0001 | 400 | 1.263 | 1.327 | 1.313 | -0.05028
A01 | Std0001 | 400 | 1.275 |  | 1.313 | -0.03843
A02 | Std0001 | 400 | 1.251 |  | 1.313 | -0.06213
Average | Std0002 | 200 | 0.7783 | 0.4361 | 0.7052 | 0.07315
B01 | Std0002 | 200 | 0.7759 |  | 0.7052 | 0.07075
B02 | Std0002 | 200 | 0.7807 |  | 0.7052 | 0.07555
Average | Std0003 | 100 | 0.4573 | 0.402 | 0.4011 | 0.05624
C01 | Std0003 | 100 | 0.4586 |  | 0.4011 | 0.05754
C02 | Std0003 | 100 | 0.456 |  | 0.4011 | 0.05494
Average | Std0004 | 50 | 0.2608 | 1.437 | 0.249 | 0.01173
D01 | Std0004 | 50 | 0.2634 |  | 0.249 | 0.01438
D02 | Std0004 | 50 | 0.2581 |  | 0.249 | 0.009085
Average | Std0005 | 25 | 0.1588 | 3.43 | 0.173 | -0.01424
E01 | Std0005 | 25 | 0.1626 |  | 0.173 | -0.01039
E02 | Std0005 | 25 | 0.1549 |  | 0.173 | -0.01809
Average | Std0006 | 12.5 | 0.1052 | 0.6722 | 0.135 | -0.02978
F01 | Std0006 | 12.5 | 0.1057 |  | 0.135 | -0.02928
F02 | Std0006 | 12.5 | 0.1047 |  | 0.135 | -0.03028
Average | Std0007 | 0 | 0.05015 | 1.833 | 0.09697 | -0.04682
G01 | Std0007 | 0 | 0.0508 |  | 0.09697 | -0.04617
G02 | Std0007 | 0 | 0.0495 |  | 0.09697 | -0.04747
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.275 | 1.251 | 1.087 | 1.01 | 0.969 | 1.551 | 1.583 | 1.569
B | 0.7759 | 0.7807 | 0.4232 | 0.4098 | 0.3617 | 3.262 | 3.15 | 3.111
C | 0.4586 | 0.456 | 0.3017 | 0.2926 | 0.2509 | 2.147 | 2.083 | 2.142
D | 0.2634 | 0.2581 | 0.3158 | 0.3169 | 0.2836 | 0.7913 | 0.8487 | 0.8651
E | 0.1626 | 0.1549 | 1.619 | 1.51 | 1.46 | 0.9051 | 0.9831 | 0.9217
F | 0.1057 | 0.1047 | 2.288 | 2.323 | 2.145 | 0.6228 | 0.6634 | 0.619
G | 0.0508 | 0.0495 | 0.4838 | 0.4943 | 0.4506 | 1.251 | 1.222 | 1.284
H |  |  | 0.4273 | 0.3991 | 0.4027
Conc. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 387.4 | 379.6 | 325.5 | 300.4 | 286.8 | 478 | 488.8 | 484.2
B | 223.3 | 224.8 | 107.3 | 102.9 | 87.06 | 1041 | 1004 | 991
C | 118.9 | 118.1 | 67.33 | 64.33 | 50.62 | 674.2 | 653.2 | 672.6
D | 54.73 | 52.99 | 71.96 | 72.32 | 61.37 | 228.3 | 247.2 | 252.6
E | 21.58 | 19.05 | 500.6 | 464.5 | 448.3 | 265.8 | 291.4 | 271.2
F | 2.871 | 2.542 | 720.6 | 732 | 673.5 | 172.9 | 186.3 | 171.7
G | < Min | < Min | 127.2 | 130.7 | 116.3 | 379.5 | 370 | 390.4
H |  |  | 108.6 | 99.36 | 100.5
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std0001 | Std0001 | Un0001 | Un0001 | Un0001 | Un0009 | Un0009 | Un0009
B | Std0002 | Std0002 | Un0002 | Un0002 | Un0002 | Un0010 | Un0010 | Un0010
C | Std0003 | Std0003 | Un0003 | Un0003 | Un0003 | Un0011 | Un0011 | Un0011
D | Std0004 | Std0004 | Un0004 | Un0004 | Un0004 | Un0012 | Un0012 | Un0012
E | Std0005 | Std0005 | Un0008 | Un0008 | Un0008 | Un0013 | Un0013 | Un0013
F | Std0006 | Std0006 | Un0005 | Un0005 | Un0005 | Un0014 | Un0014 | Un0014
G | Std0007 | Std0007 | Un0006 | Un0006 | Un0006 | Un0015 | Un0015 | Un0015
H |  |  | Un0007 | Un0007 | Un0007
Autoloading range A1 - M101

## Dilution Factor 1_03
Measurement results
p24 cristina chisu 030425 kit.skax
3/4/2025 12:03:30 PM
Dilution Factor 1
Wavelength: 450 nm
Plate 1
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Sample | n1 | n2 | n3 | Avg. (pg/mL) | Normalized
A | 387.4 | 379.6 | 16270 | 15020 | 14340 | 478000 | 488800 | 484200 |  |  |  |  | 1 | DMSO | 16270 | 15020 | 14340 | 15210 | 1
B | 223.3 | 224.8 | 5364 | 5144 | 4353 | 1041000 | 1004000 | 991000 |  |  |  |  | 2 | MLN 200 nM | 5364 | 5144 | 4353 | 4953.6667 | 0.32568
C | 118.9 | 118.1 | 3366 | 3217 | 2531 | 674200 | 653200 | 672600 |  |  |  |  | 3 | Saquinavir 5 uM | 3366 | 3217 | 2531 | 3038 | 0.19974
D | 54.73 | 52.99 | 3598 | 3616 | 3069 | 228300 | 247200 | 252600 |  |  |  |  | 4 | MLN + Saquinavir | 3598 | 3616 | 3069 | 3427.6667 | 0.22536
E | 21.58 | 19.05 | 250300 | 232300 | 224100 | 265800 | 291400 | 271200 |  |  |  |  | 5 | DMSO + TNFa | 250300 | 232300 | 224100 | 235566.6667 | 15.4876
F | 2.871 | 2.542 | 36030 | 36600 | 33680 | 172900 | 186300 | 171700 |  |  |  |  | 6 | MLN + TNFa | 36030 | 36600 | 33680 | 35436.6667 | 2.3298
G | NaN | NaN | 6360 | 6533 | 5815 | 379500 | 370000 | 390400 |  |  |  |  | 7 | Saquinavir+ TNFa | 6360 | 6533 | 5815 | 6236 | 0.40999
H |  |  | 5431 | 4968 | 5027 | [7 empty] | 8 | MLN + Saquinavir + TNFa | 5431 | 4968 | 5027 | 5142 | 0.33807
Dilution factor | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | NaN | NaN | 50 | 50 | 50 | 1000 | 1000 | 1000
B | NaN | NaN | 50 | 50 | 50 | 1000 | 1000 | 1000
C | NaN | NaN | 50 | 50 | 50 | 1000 | 1000 | 1000
D | NaN | NaN | 50 | 50 | 50 | 1000 | 1000 | 1000
E | NaN | NaN | 500 | 500 | 500 | 1000 | 1000 | 1000
F | NaN | NaN | 50 | 50 | 50 | 1000 | 1000 | 1000
G | NaN | NaN | 50 | 50 | 50 | 1000 | 1000 | 1000
H |  |  | 50 | 50 | 50
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std0001 | Std0001 | Un0001 | Un0001 | Un0001 | Un0009 | Un0009 | Un0009
B | Std0002 | Std0002 | Un0002 | Un0002 | Un0002 | Un0010 | Un0010 | Un0010
C | Std0003 | Std0003 | Un0003 | Un0003 | Un0003 | Un0011 | Un0011 | Un0011
D | Std0004 | Std0004 | Un0004 | Un0004 | Un0004 | Un0012 | Un0012 | Un0012
E | Std0005 | Std0005 | Un0008 | Un0008 | Un0008 | Un0013 | Un0013 | Un0013
F | Std0006 | Std0006 | Un0005 | Un0005 | Un0005 | Un0014 | Un0014 | Un0014
G | Std0007 | Std0007 | Un0006 | Un0006 | Un0006 | Un0015 | Un0015 | Un0015
H |  |  | Un0007 | Un0007 | Un0007
Autoloading range A1 - M41

## Average, SD, CV% 1_04
Measurement results
p24 cristina chisu 030425 kit.skax
3/4/2025 12:03:30 PM
Average, SD, CV% 1
Wavelength: 450 nm
Plate 1
AVG | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 383.5 |  | 15210 |  |  | 483700
B | 224.1 |  | 4954 |  |  | 1012000
C | 118.5 |  | 3038 |  |  | 666700
D | 53.86 |  | 3428 |  |  | 242700
E | 20.32 |  | 235600 |  |  | 276100
F | 2.706 |  | 35440 |  |  | 177000
G | NaN |  | 6236 |  |  | 379900
H |  |  | 5142
SD | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 5.511 |  | 981.7 |  |  | 5398
B | 1.116 |  | 531.8 |  |  | 25830
C | 0.6046 |  | 445.4 |  |  | 11700
D | 1.232 |  | 311 |  |  | 12740
E | 1.79 |  | 13390 |  |  | 13510
F | 0.2325 |  | 1550 |  |  | 8093
G | NaN |  | 375.1 |  |  | 10200
H |  |  | 252.4
CV% | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.437 |  | 6.454 |  |  | 1.116
B | 0.4982 |  | 10.73 |  |  | 2.553
C | 0.5102 |  | 14.66 |  |  | 1.755
D | 2.288 |  | 9.074 |  |  | 5.25
E | 8.813 |  | 5.684 |  |  | 4.893
F | 8.592 |  | 4.375 |  |  | 4.574
G | NaN |  | 6.015 |  |  | 2.685
H |  |  | 4.908
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std0001 |  | 1A |  |  | N5
B | Std0002 |  | 2A |  |  | N6
C | Std0003 |  | 3A |  |  | N10
D | Std0004 |  | 4A |  |  | N DMSO
E | Std0005 |  | 5A |  |  | N 52
F | Std0006 |  | 6A |  |  | N 302
G | Std0007 |  | 7A |  |  | N 611
H |  |  | 8A
Autoloading range A1 - M51

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | p24 cristina chisu 030425 kit.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 3/4/2025 12:03:30 PM

## Instrument information
Instrument information
| Name |  | Multiskan FC
| ESW version |  | 1.01.16
| Serial number |  | 357-716201T
Instrument modules
Filter
Name
|  | Position | 1
|  | Wavelength | 405
Bandwidth
|  | Date and time of definition | 12/8/2023 4:26:00 PM
Filter
Name
|  | Position | 2
|  | Wavelength | 450
Bandwidth
|  | Date and time of definition | 12/8/2023 4:26:00 PM
Filter
Name
|  | Position | 3
|  | Wavelength | 620
Bandwidth
|  | Date and time of definition | 12/8/2023 4:26:00 PM
|  | Incubator | Yes

## Protocol parameters
Protocol parameters
| Check temperature at start [°C] |  | No
Absorbance 1
| Measurement technology |  | Photometric
| Measurement mode |  | Fast
Filter
Name
|  | Wavelength [nm] | 450
|  | Position | 2
| Pathlength correction |  | No

## Run log
Run log
| Time | Event | Information
| 3/4/2025 12:03:30 PM | Session p24 cristina chisu 030425 kit.skax started
| 3/4/2025 12:03:30 PM | Temperature | 24.9°C
| 3/4/2025 12:03:30 PM | Step Absorbance 1 started
| 3/4/2025 12:03:40 PM | Step Absorbance 1 ended
| 3/4/2025 12:03:40 PM | Temperature | 24.9°C
| 3/4/2025 12:03:42 PM | Session p24 cristina chisu 030425 kit.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std0001 | Std0001 | Un0001 | Un0001 | Un0001 | Un0009 | Un0009 | Un0009
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 400 | 400 | 1:50 | 1:50 | 1:50 | 1:1000 | 1:1000 | 1:1000
B | Std0002 | Std0002 | Un0002 | Un0002 | Un0002 | Un0010 | Un0010 | Un0010
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 200 | 200 | 1:50 | 1:50 | 1:50 | 1:1000 | 1:1000 | 1:1000
C | Std0003 | Std0003 | Un0003 | Un0003 | Un0003 | Un0011 | Un0011 | Un0011
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 100 | 100 | 1:50 | 1:50 | 1:50 | 1:1000 | 1:1000 | 1:1000
D | Std0004 | Std0004 | Un0004 | Un0004 | Un0004 | Un0012 | Un0012 | Un0012
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 50 | 50 | 1:50 | 1:50 | 1:50 | 1:1000 | 1:1000 | 1:1000
E | Std0005 | Std0005 | Un0008 | Un0008 | Un0008 | Un0013 | Un0013 | Un0013
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 25 | 25 | 1:500 | 1:500 | 1:500 | 1:1000 | 1:1000 | 1:1000
F | Std0006 | Std0006 | Un0005 | Un0005 | Un0005 | Un0014 | Un0014 | Un0014
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 12.5 | 12.5 | 1:50 | 1:50 | 1:50 | 1:1000 | 1:1000 | 1:1000
G | Std0007 | Std0007 | Un0006 | Un0006 | Un0006 | Un0015 | Un0015 | Un0015
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 0 | 0 | 1:50 | 1:50 | 1:50 | 1:1000 | 1:1000 | 1:1000
H | Blank1 | Blank1 | Un0007 | Un0007 | Un0007
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  |  | 1:50 | 1:50 | 1:50