## Absorbance 1_01
Measurement results
p24 hope lab cristina 031125.skax
3/11/2025 12:08:11 PM
Absorbance 1
Wavelength: 450 nm
Plate 1
Abs | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.2459 | 1.1525 | 0.167 | 0.2344 | 0.2623 | 0.3111 | 0.1715 | -0.0004
B | 0.7503 | 0.7234 | 0.3044 | 0.3248 | 0.3019 | 0.3415 | 0.0534 | 0.0002
C | 0.4246 | 0.4171 | 0.1801 | 0.4224 | 0.1704 | 0.3268 | 0.0509 | -0.0006
D | 0.2446 | 0.2286 | 0.2482 | 0.511 | 0.1932 | 0.2443 | 0.0693 | 0.0002
E | 0.1543 | 0.1357 | 0.2715 | 0.2105 | 0.1846 | 0.2372 | 0.0636 | -0.0007
F | 0.106 | 0.107 | 0.4018 | 0.2155 | 0.3169 | 0.2287 | 0.0589 | 0.0001
G | 0.0521 | 0.0519 | 0.2285 | 0.269 | 0.353 | 0.1765 | 0.0535 | -0.0006
H | 0.0487 | 0.0498 | 0.2525 | 0.3378 | 0.3702 | 0.1643 | 0.0529 | 0.0001
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std0001 | Std0001 | Un0001 | Un0009 | Un0017 | Un0026 | Un0025
B | Std0002 | Std0002 | Un0002 | Un0010 | Un0018 | Un0026
C | Std0003 | Std0003 | Un0003 | Un0011 | Un0019 | Un0026
D | Std0004 | Std0004 | Un0004 | Un0012 | Un0020 | Un0027
E | Std0005 | Std0005 | Un0005 | Un0013 | Un0021 | Un0027
F | Std0006 | Std0006 | Un0006 | Un0014 | Un0022 | Un0027
G | Std0007 | Std0007 | Un0007 | Un0015 | Un0023 | Un0025
H | Blank1 | Blank1 | Un0008 | Un0016 | Un0024 | Un0025
Autoloading range A1 - M28

## Standard Curve 1_02
Measurement results
p24 hope lab cristina 031125.skax
3/11/2025 12:08:11 PM
Standard Curve 1
Fit type: Linear Regression
Use extrapolation: No
Force line through origin: No
Concentration transformation: Linear
Signal transformation: Linear
Wavelength: 450 nm
Saved curve: No
Sample group: Group 1
y = 0.00288729x + 0.0890372
y = ax + b
Where:
a = | 0.0028873
b = | 0.089037
R²: 0.989
Well | Sample | Conc. | Original signal | CV% | Fitted signal | Residual
Average | Std0001 | 400 | 1.199 | 5.507 | 1.244 | -0.04475
A01 | Std0001 | 400 | 1.246 |  | 1.244 | 0.001947
A02 | Std0001 | 400 | 1.153 |  | 1.244 | -0.09145
Average | Std0002 | 200 | 0.7369 | 2.581 | 0.6665 | 0.07036
B01 | Std0002 | 200 | 0.7503 |  | 0.6665 | 0.08381
B02 | Std0002 | 200 | 0.7234 |  | 0.6665 | 0.05691
Average | Std0003 | 100 | 0.4209 | 1.26 | 0.3778 | 0.04308
C01 | Std0003 | 100 | 0.4246 |  | 0.3778 | 0.04683
C02 | Std0003 | 100 | 0.4171 |  | 0.3778 | 0.03933
Average | Std0004 | 50 | 0.2366 | 4.782 | 0.2334 | 0.003198
D01 | Std0004 | 50 | 0.2446 |  | 0.2334 | 0.0112
D02 | Std0004 | 50 | 0.2286 |  | 0.2334 | -0.004802
Average | Std0005 | 25 | 0.145 | 9.07 | 0.1612 | -0.01622
E01 | Std0005 | 25 | 0.1543 |  | 0.1612 | -0.006919
E02 | Std0005 | 25 | 0.1357 |  | 0.1612 | -0.02552
Average | Std0006 | 12.5 | 0.1065 | 0.664 | 0.1251 | -0.01863
F01 | Std0006 | 12.5 | 0.106 |  | 0.1251 | -0.01913
F02 | Std0006 | 12.5 | 0.107 |  | 0.1251 | -0.01813
Average | Std0007 | 0 | 0.052 | 0.272 | 0.08904 | -0.03704
G01 | Std0007 | 0 | 0.0521 |  | 0.08904 | -0.03694
G02 | Std0007 | 0 | 0.0519 |  | 0.08904 | -0.03714
Plate 1
Signal | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.246 | 1.153 | 0.167 | 0.2344 | 0.2623 | 0.3111 | 0.1715
B | 0.7503 | 0.7234 | 0.3044 | 0.3248 | 0.3019 | 0.3415
C | 0.4246 | 0.4171 | 0.1801 | 0.4224 | 0.1704 | 0.3268
D | 0.2446 | 0.2286 | 0.2482 | 0.511 | 0.1932 | 0.2443
E | 0.1543 | 0.1357 | 0.2715 | 0.2105 | 0.1846 | 0.2372
F | 0.106 | 0.107 | 0.4018 | 0.2155 | 0.3169 | 0.2287
G | 0.0521 | 0.0519 | 0.2285 | 0.269 | 0.353 | 0.1765
H |  |  | 0.2525 | 0.3378 | 0.3702 | 0.1643
Conc. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | > Max | 368.3 | 27 | 50.35 | 60.01 | 76.91 | 28.56
B | 229 | 219.7 | 74.59 | 81.66 | 73.72 | 87.44
C | 116.2 | 113.6 | 31.54 | 115.5 | 28.18 | 82.35
D | 53.88 | 48.34 | 55.13 | 146.1 | 36.08 | 53.77
E | 22.6 | 16.16 | 63.2 | 42.07 | 33.1 | 51.32
F | 5.875 | 6.221 | 108.3 | 43.8 | 78.92 | 48.37
G | < Min | < Min | 48.3 | 62.33 | 91.42 | 30.29
H |  |  | 56.61 | 86.16 | 97.38 | 26.07
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std0001 | Std0001 | Un0001 | Un0009 | Un0017 | Un0026 | Un0025
B | Std0002 | Std0002 | Un0002 | Un0010 | Un0018 | Un0026
C | Std0003 | Std0003 | Un0003 | Un0011 | Un0019 | Un0026
D | Std0004 | Std0004 | Un0004 | Un0012 | Un0020 | Un0027
E | Std0005 | Std0005 | Un0005 | Un0013 | Un0021 | Un0027
F | Std0006 | Std0006 | Un0006 | Un0014 | Un0022 | Un0027
G | Std0007 | Std0007 | Un0007 | Un0015 | Un0023 | Un0025
H |  |  | Un0008 | Un0016 | Un0024 | Un0025
Autoloading range A1 - M101

## Dilution Factor 1_03
Measurement results
p24 hope lab cristina 031125.skax
3/11/2025 12:08:11 PM
Dilution Factor 1
Wavelength: 450 nm
Plate 1
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Samples |  | n1 | n2 | n3 | avg (pg/mL) | normalized
A | NaN | 368.3 | 27 | 50.35 | 60.01 | 384600 | 142800 | [5 empty] | 1 | DMSO |  |  |  | 15930
B | 229 | 219.7 | 74.59 | 81.66 | 73.72 | 437200 | [6 empty] | 2 | MLN 200 nM
C | 116.2 | 113.6 | 31.54 | 115.5 | 28.18 | 411700 | [6 empty] | 3 | TNFa 10 ng/mL | 384600 | 437200 | 411700 | 411166.6667 | 25.8108
D | 53.88 | 48.34 | 55.13 | 146.1 | 36.08 | 268900 | [6 empty] | 4 | JSH 5uM
E | 22.6 | 16.16 | 63.2 | 42.07 | 33.1 | 256600 | [6 empty] | 5 | JSH 10 uM
F | 5.875 | 6.221 | 108.3 | 43.8 | 78.92 | 241900 | [6 empty] | 6 | JSH 50 uM
G | NaN | NaN | 48.3 | 62.33 | 91.42 | 151500 | [6 empty] | 7 | TNFa + JSH 5 uM | 268900 | 256600 | 241900 | 255800 | 16.0578
H |  |  | 56.61 | 86.16 | 97.38 | 130300 | [6 empty] | 8 | TNFa + JSH 10 uM | 151500 | 130300 | 142800 | 141533.3333 | 8.8847
[13 empty] | 9 | TNFa + JSH 50 uM
Dilution factor | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 10 | TNFa + MLN 200 nM
A | NaN | NaN | 1 | 1 | 1 | 5000 | 5000
B | NaN | NaN | 1 | 1 | 1 | 5000
C | NaN | NaN | 1 | 1 | 1 | 5000
D | NaN | NaN | 1 | 1 | 1 | 5000
E | NaN | NaN | 1 | 1 | 1 | 5000
F | NaN | NaN | 1 | 1 | 1 | 5000
G | NaN | NaN | 1 | 1 | 1 | 5000
H |  |  | 1 | 1 | 1 | 5000
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std0001 | Std0001 | 25 | 33 | 41 | #3 Repeat | #8 Repeat
B | Std0002 | Std0002 | 26 | 34 | 42 | #3 Repeat
C | Std0003 | Std0003 | 27 | 35 | 43 | #3 Repeat
D | Std0004 | Std0004 | 28 | 36 | 44 | #7 Repeat
E | Std0005 | Std0005 | 29 | 37 | 45 | #7 Repeat
F | Std0006 | Std0006 | 30 | 38 | 46 | #7 Repeat
G | Std0007 | Std0007 | 31 | 39 | 47 | #8 Repeat
H |  |  | 32 | 40 | 48 | #8 Repeat
Autoloading range A1 - M41

## Average, SD, CV% 1_04
Measurement results
p24 hope lab cristina 031125.skax
3/11/2025 12:08:11 PM
Average, SD, CV% 1
Wavelength: 450 nm
Plate 1
AVG | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 368.3 |  | 27 | 50.35 | 60.01 | 411200 | 141500
B | 224.4 |  | 74.59 | 81.66 | 73.72
C | 114.9 |  | 31.54 | 115.5 | 28.18
D | 51.11 |  | 55.13 | 146.1 | 36.08 | 255800
E | 19.38 |  | 63.2 | 42.07 | 33.1
F | 6.048 |  | 108.3 | 43.8 | 78.92
G | NaN |  | 48.3 | 62.33 | 91.42
H |  |  | 56.61 | 86.16 | 97.38
SD | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | NaN |  | NaN | NaN | NaN | 26330 | 10620
B | 6.588 |  | NaN | NaN | NaN
C | 1.837 |  | NaN | NaN | NaN
D | 3.918 |  | NaN | NaN | NaN | 13530
E | 4.555 |  | NaN | NaN | NaN
F | 0.2449 |  | NaN | NaN | NaN
G | NaN |  | NaN | NaN | NaN
H |  |  | NaN | NaN | NaN
CV% | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | NaN |  | NaN | NaN | NaN | 6.403 | 7.504
B | 2.936 |  | NaN | NaN | NaN
C | 1.598 |  | NaN | NaN | NaN
D | 7.667 |  | NaN | NaN | NaN | 5.288
E | 23.5 |  | NaN | NaN | NaN
F | 4.049 |  | NaN | NaN | NaN
G | NaN |  | NaN | NaN | NaN
H |  |  | NaN | NaN | NaN
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std0001 | Std0001 | 25 | 33 | 41 | #3 Repeat | #8 Repeat
B | Std0002 | Std0002 | 26 | 34 | 42
C | Std0003 | Std0003 | 27 | 35 | 43
D | Std0004 | Std0004 | 28 | 36 | 44 | #7 Repeat
E | Std0005 | Std0005 | 29 | 37 | 45
F | Std0006 | Std0006 | 30 | 38 | 46
G | Std0007 | Std0007 | 31 | 39 | 47
H |  |  | 32 | 40 | 48
Autoloading range A1 - M51

## General information
General information
| Report generated with SW version | SkanIt Software 7.0.2 RE for Microplate Readers RE, ver. 7.0.2.5

## Session information
Session information
| Session name | p24 hope lab cristina 031125.skax
Session notes
| Executed with | SkanIt Software for Microplate Readers RE, ver 7.0.2.5
| Execution time | 3/11/2025 12:08:11 PM

## Instrument information
Instrument information
| Name |  | Multiskan FC
| ESW version |  | 1.01.16
| Serial number |  | 357-716201T
Instrument modules
Filter
Name
|  | Position | 1
|  | Wavelength | 405
Bandwidth
|  | Date and time of definition | 12/8/2023 4:26:00 PM
Filter
Name
|  | Position | 2
|  | Wavelength | 450
Bandwidth
|  | Date and time of definition | 12/8/2023 4:26:00 PM
Filter
Name
|  | Position | 3
|  | Wavelength | 620
Bandwidth
|  | Date and time of definition | 12/8/2023 4:26:00 PM
|  | Incubator | Yes

## Protocol parameters
Protocol parameters
| Check temperature at start [°C] |  | No
Absorbance 1
| Measurement technology |  | Photometric
| Measurement mode |  | Fast
Filter
Name
|  | Wavelength [nm] | 450
|  | Position | 2
| Pathlength correction |  | No

## Run log
Run log
| Time | Event | Information
| 3/11/2025 12:08:11 PM | Session p24 hope lab cristina 031125.skax started
| 3/11/2025 12:08:11 PM | Temperature | 25.5°C
| 3/11/2025 12:08:11 PM | Step Absorbance 1 started
| 3/11/2025 12:08:21 PM | Step Absorbance 1 ended
| 3/11/2025 12:08:21 PM | Temperature | 25.5°C
| 3/11/2025 12:08:24 PM | Session p24 hope lab cristina 031125.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Std0001 | Std0001 | Un0001 | Un0009 | Un0017 | Un0026 | Un0025
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 400 | 400 | 1:1 | 1:1 | 1:1 | 1:5000 | 1:5000
B | Std0002 | Std0002 | Un0002 | Un0010 | Un0018 | Un0026
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 200 | 200 | 1:1 | 1:1 | 1:1 | 1:5000
C | Std0003 | Std0003 | Un0003 | Un0011 | Un0019 | Un0026
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 100 | 100 | 1:1 | 1:1 | 1:1 | 1:5000
D | Std0004 | Std0004 | Un0004 | Un0012 | Un0020 | Un0027
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 50 | 50 | 1:1 | 1:1 | 1:1 | 1:5000
E | Std0005 | Std0005 | Un0005 | Un0013 | Un0021 | Un0027
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 25 | 25 | 1:1 | 1:1 | 1:1 | 1:5000
F | Std0006 | Std0006 | Un0006 | Un0014 | Un0022 | Un0027
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 12.5 | 12.5 | 1:1 | 1:1 | 1:1 | 1:5000
G | Std0007 | Std0007 | Un0007 | Un0015 | Un0023 | Un0025
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
| 0 | 0 | 1:1 | 1:1 | 1:1 | 1:5000
H | Blank1 | Blank1 | Un0008 | Un0016 | Un0024 | Un0025
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1
|  |  | 1:1 | 1:1 | 1:1 | 1:5000